Requirements

Interconnections at distribution-level voltages are initiated under Section 14 of the Wholesale Distribution Tariff (WDT), which specifies that a distribution customer must submit a completed application to the distribution provider.

Generators interconnecting with our distribution system MUST provide the following information on the below checklist with their completed applications:

The contact, address, telephone and fax information of the party requesting service.

Applicant:

Davis Hydro, LLC

27264 Meadowbrook Drive

Davis, California 95616

Contact:

Richard D. Ely, Principal

Davis Hydro, LLC

27264 Meadowbrook Drive

Davis, California 95616

Phone 530 753-8864

Fax 530 753-4707

Email  hydro@davis.com

A statement that the party requesting service is, or will be upon commencement of service, an eligible customer under the tariff.

So stated.

The location of the point(s) of receipt and point(s) of delivery and the identities of the delivering and receiving parties.

Delivery point:

PG&E’s Pit 4 Diversion Dam

Pit River FERC Project 345 in Shasta County

12 KV  3 Phase delivery – on-site via applicant’s Transformer(s)

Receiving party:

{unspecified at this point.  Probably PG&E}

The location of the generating facility supplying the capacity and energy

PG&E’s Pit 4 Diversion Dam

Pit River Shasta County (Northwest of Burney)

12 KV   3 Phase delivery – on-site.

The location of the load ultimately served by the capacity and energy transmitted.

{unspecified at this point.  Probably PG&E}

A description of the supply characteristics of the capacity and energy to be delivered. (For generation, include unit size(s) and capacities, along with operating restrictions and maintenance schedules.)

Note:  Therefore the application below is given as a MAXIMUM requested configuration, and a “probable MINIMUM economic configuration”.  The applicant requests a first round review to define the minimum distribution line capacity available.

|  | Maximum Requested | Probable Economic. Minimum |
| --- | --- | --- |
| Unit Size: |  |  |
| Unit 1 | 750 kW | 550 kW |
| Operating Restrictions |  |  |
| Unit 1 | None – fish release hydro |  |
| Maintenance Schedules |  |  |
| Unit 1 | By agreement with PG&E |  |

An estimate of the capacity and energy expected to be delivered to the receiving party.

Note:  This units will run 24/7/365 due to regulatory water release requirements required under FERC License.  All scheduled outage for maintenance will be coordinated with, and done under the direction of PG&E.

Assuming the .75 MW interconnection, the average annual production for the MAXIMUM configuration will be about 6 GWH.  The production for the minimum economic system with be about 4 GWH.

A service commencement date and the term of the requested distribution service.

Service should commence on 6/1/06 for an indefinite term or 99 years.

The distribution capacity requested for each point of receipt and delivery on the distribution provider's distribution system.

Receipt is per table above.  Plant service will be negligible.

No delivery point is specified.

The information found in our Interconnection Data Sheet.

Completed applications should be mailed to:

Pacific Gas and Electric Company
Attention: Interconnection Services
Mail Code B13M
P.O. Box 770000
San Francisco, CA 94177